invoice

| FROM | INVOICE # | 23-028 |
| --- | --- | --- |
| TIMOTHY GUTSHALL | INVOICE DATE | 10/5/2023 |

BILL TO

NUTRIENT CONTROL SYSTEMS

130 Industrial Dr.

Chambersburg Pa. 17201

| DESCRIPTION: JOBO HOLSTEINS REF# 1842 |  | AMOUNT |
| --- | --- | --- |
| HOURLY RATE ELECTRICAL $85.00 @ 7 on 10/9/23 |  | $595.00 |
| HOURLY RATE ELECTRICAL $85.00 @ 5 on 10/10/23 |  | $425.00 |
| MILEAGE $0.65 PER MILE @ mi. 70 @ 2 |  | $91.00 |
| TOTAL PARTS |  |  |
| Replaced 10“ Touch Panel. (Warranty) Also installed a temporary Yaskawa Feed Pump VFD. John Hess is under the impression that the Feed Pump VFD should be a warranty replacement. I have checked serial #s and that VFD is the original. I need to order a replacement ABB VFD. That will be requested through KHI’s quote #1068 |  |  |
| TOTAL |  | $1,111.00 |
| Work Performed on: 10/9/23 and 10/10/23. |  |  |

TERMS & CONDITIONS

Payment is due within 15 days