invoice

| FROM | INVOICE # | 23-029 |
| --- | --- | --- |
| TIMOTHY GUTSHALL | INVOICE DATE | 11/6/2023 |

BILL TO

NUTRIENT CONTROL SYSTEMS

130 Industrial Dr.

Chambersburg Pa. 17201

| DESCRIPTION: JOBO HOLSTEINS REF# 1862 |  | AMOUNT |
| --- | --- | --- |
| HOURLY RATE ELECTRICAL $85.00 @ 10 (2) Trips |  | $850.00 |
| MILEAGE $0.65 PER MILE @ mi. 70 @ 2 |  | $91.00 |
| TOTAL PARTS |  |  |
| Installed new replacement ABB VFD for a 10 HP Feed Pump. The new Feed Pump motor was 15 HP which was too much for the 10 HP VFD. I then utilized the existing 25 HP VFD to permanently run the new 15 HP pump. |  |  |
| TOTAL |  | $941.00 |
| Work Performed on:11/3/23. |  |  |

TERMS & CONDITIONS

Payment is due within 15 days