invoice

| FROM | INVOICE # | 25-009 |
| --- | --- | --- |
| TIMOTHY GUTSHALL | INVOICE DATE | 4/14/25 |

BILL TO

NUTRIENT CONTROL SYSTEMS

130 Industrial Dr.

Chambersburg Pa. 17201

| DESCRIPTION: JoBo Holsteins REF # | AMOUNT |
| --- | --- |
| HOURLY RATE ELECTRICAL $85.00 @ 5.0 Hr. (4/5/25) | $425.00 |
| HOURLY RATE ELECTRICAL $85.00 @ 1.0 Hr. (4/7/25) | $85.00 |
| TOTAL PARTS & LABOR | $510.00 |
| MILEAGE: $0.65 PER MILE 68 Mi. | $44.20 |
| I was called by Matt Maccaslin and Cole from Jobo with a communications issue on 4/4/25. After several hours trouble shooting it was determined that I would have to make a trip to Jobo to determine the problem. 4/5/25 I found the problem to be conflicting addressing somewhere on Jobos internet network the problem was so profound that it was interfering with the communications between the HMI and PLC. I corrected the problem by re-addressing my addresses on both the HMI and PLC. 4/7/25 A call from Cole at Jobo. They installed a new HBC discharge conveyor and it needed timing adjustments for the conveyor proximity switch. |  |
| TOTAL | $554.20 |